{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["Setup","Actueel","Dag","Week","Maand","Jaar"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":5,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Setup","index":0,"n_rows":10,"n_cols":11,"rows_kept":10,"cut":false,"hidden":false,"merged":[]}
[null,"Geef het IP adres en wachtwoord van jou HomeWizard en klik 'Lees HomeWizard uit'"]
["HomeWizard IP","192.168.1.1"]
["Wachtwoord","wachtwoord"]
[null,null,null,null,null,null,null,"Selecteer wat uit te lezen"]
[null,null,null,null,null,null,null,"EnergyLink","Ja"]
[null,null,null,null,null,null,null,"Temperatuur","Ja","ID",1]
["Software Versie",2.4900000000000002]
["Firmware Update?","no"]
["App Update?","no"]
["Serie nummer",140106709]

{"sheet":"Actueel","index":1,"n_rows":7,"n_cols":6,"rows_kept":7,"cut":false,"hidden":false,"merged":[]}
["Sensor:","Netto","Verbruik","S1","S2","Gas"]
["Actueel",-1815,414,2229,0]
["Vandaag",-167,356,517,12900]
["Minimum",-1847,0,0,0]
["Min tijd","12:18:00","09:23:00","00:01:00","00:01:00"]
["Maximum",624,1838,2224,12]
["Max tijd","00:11:00","10:20:00","12:32:00","01:06:00"]

{"sheet":"Dag","index":2,"n_rows":509,"n_cols":12,"rows_kept":509,"cut":false,"hidden":false,"merged":[]}
["Datum Tijd","Netto","Verbruik","Zon ","Water","Gas",null,null,"Datum Tijd","Meter ID","Temp","L-Vocht"]
["2014-02-14",424,424,0,195,0,null,null,"2014-02-15T12:35:00",1,18.100000000000001,50]
["2014-02-14T00:05:00",333,333,0,0,0,null,null,"2014-02-15T12:50:00",1,18.2,50]
["2014-02-14T00:10:00",416,416,0,0,0,null,null,"2014-02-15T13:05:00",1,18,50]
["2014-02-14T00:15:00",365,365,0,0,0,null,null,"2014-02-15T13:20:00",1,18.100000000000001,50]
["2014-02-14T00:20:00",477,477,0,0,0,null,null,"2014-02-15T13:35:00",1,18.3,50]
["2014-02-14T00:25:00",425,425,0,0,0,null,null,"2014-02-15T13:50:00",1,18.399999999999999,50]
["2014-02-14T00:30:00",419,419,0,0,0,null,null,"2014-02-15T14:05:00",1,18.600000000000001,50]
["2014-02-14T00:35:00",467,467,0,0,0,null,null,"2014-02-15T14:20:00",1,18.600000000000001,50]
["2014-02-14T00:40:00",462,462,0,0,0,null,null,"2014-02-15T14:35:00",1,18.600000000000001,50]
["2014-02-14T00:45:00",461,461,0,0,0,null,null,"2014-02-15T14:50:00",1,18.5,50]
["2014-02-14T00:50:00",465,465,0,0,0,null,null,"2014-02-15T15:05:00",1,18.5,50]
["2014-02-14T00:55:00",358,358,0,0,0,null,null,"2014-02-15T15:20:00",1,18.8,50]
["2014-02-14T01:00:00",519,519,0,0,0,null,null,"2014-02-15T15:35:00",1,18.8,49]
["2014-02-14T01:05:00",366,366,0,3,0,null,null,"2014-02-15T15:50:00",1,18.899999999999999,49]
["2014-02-14T01:10:00",363,363,0,3,0,null,null,"2014-02-15T16:05:00",1,18.7,50]
["2014-02-14T01:15:00",332,332,0,3,0,null,null,"2014-02-15T16:20:00",1,18.5,49]
["2014-02-14T01:20:00",303,303,0,11,0,null,null,"2014-02-15T16:35:00",1,18.3,49]
["2014-02-14T01:25:00",135,135,0,13,0,null,null,"2014-02-15T16:50:00",1,18.3,49]
["2014-02-14T01:30:00",127,127,0,13,0,null,null,"2014-02-15T17:05:00",1,18.399999999999999,49]
["2014-02-14T01:35:00",195,195,0,13,0,null,null,"2014-02-15T17:20:00",1,18.5,49]
["2014-02-14T01:40:00",126,126,0,13,0,null,null,"2014-02-15T17:35:00",1,18.600000000000001,49]
["2014-02-14T01:45:00",125,125,0,13,0,null,null,"2014-02-15T17:50:00",1,18.8,49]
["2014-02-14T01:50:00",125,125,0,13,0,null,null,"2014-02-15T18:05:00",1,18.8,49]
["2014-02-14T01:55:00",126,126,0,13,0,null,null,"2014-02-15T18:20:00",1,18.899999999999999,49]
["2014-02-14T02:00:00",168,168,0,13,0,null,null,"2014-02-15T18:35:00",1,18.7,49]
["2014-02-14T02:05:00",168,168,0,0,0,null,null,"2014-02-15T18:50:00",1,18.399999999999999,49]
["2014-02-14T02:10:00",168,168,0,0,0,null,null,"2014-02-15T19:05:00",1,18.2,49]
["2014-02-14T02:15:00",166,166,0,0,0,null,null,"2014-02-15T19:20:00",1,18,49]
["2014-02-14T02:20:00",174,174,0,0,0,null,null,"2014-02-15T19:35:00",1,17.8,49]
["2014-02-14T02:25:00",163,163,0,0,0,null,null,"2014-02-15T19:50:00",1,17.600000000000001,49]
["2014-02-14T02:30:00",162,162,0,0,0,null,null,"2014-02-15T20:05:00",1,17.5,49]
["2014-02-14T02:35:00",161,161,0,0,0,null,null,"2014-02-15T20:20:00",1,17.3,49]
["2014-02-14T02:40:00",207,207,0,0,0,null,null,"2014-02-15T20:35:00",1,17.2,49]
["2014-02-14T02:45:00",198,198,0,0,0,null,null,"2014-02-15T20:50:00",1,17.100000000000001,50]
["2014-02-14T02:50:00",198,198,0,0,0,null,null,"2014-02-15T21:05:00",1,17,50]
["2014-02-14T02:55:00",125,125,0,0,0,null,null,"2014-02-15T21:25:00",1,16.899999999999999,50]
["2014-02-14T03:00:00",125,125,0,0,0,null,null,"2014-02-15T21:40:00",1,16.8,50]
["2014-02-14T03:05:00",125,125,0,0,0,null,null,"2014-02-15T21:55:00",1,16.7,50]
["2014-02-14T03:10:00",126,126,0,0,0,null,null,"2014-02-15T22:10:00",1,16.7,50]
["2014-02-14T03:15:00",124,124,0,0,0,null,null,"2014-02-15T22:25:00",1,16.7,50]
["2014-02-14T03:20:00",136,136,0,0,0,null,null,"2014-02-15T22:40:00",1,16.600000000000001,50]
["2014-02-14T03:25:00",137,137,0,0,0,null,null,"2014-02-15T22:55:00",1,16.600000000000001,50]
["2014-02-14T03:30:00",125,125,0,0,0,null,null,"2014-02-15T23:10:00",1,16.5,50]
["2014-02-14T03:35:00",125,125,0,0,0,null,null,"2014-02-15T23:25:00",1,16.5,50]
["2014-02-14T03:40:00",126,126,0,0,0,null,null,"2014-02-15T23:40:00",1,16.399999999999999,50]
["2014-02-14T03:45:00",168,168,0,0,0,null,null,"2014-02-15T23:55:00",1,16.399999999999999,50]
["2014-02-14T03:50:00",167,167,0,0,0,null,null,"2014-02-16T00:10:00",1,16.399999999999999,50]
["2014-02-14T03:55:00",166,166,0,0,0,null,null,"2014-02-16T00:25:00",1,16.3,50]
["2014-02-14T04:00:00",164,164,0,0,0,null,null,"2014-02-16T00:40:00",1,16.3,50]
["2014-02-14T04:05:00",163,163,0,0,0,null,null,"2014-02-16T00:55:00",1,16.2,50]
["2014-02-14T04:10:00",164,164,0,0,0,null,null,"2014-02-16T01:10:00",1,16.3,50]
["2014-02-14T04:15:00",238,238,0,0,0,null,null,"2014-02-16T01:25:00",1,16.3,50]
["2014-02-14T04:20:00",198,198,0,0,0,null,null,"2014-02-16T01:40:00",1,16.3,50]
["2014-02-14T04:25:00",208,208,0,0,0,null,null,"2014-02-16T01:55:00",1,16.3,50]
["2014-02-14T04:30:00",126,126,0,0,0,null,null,"2014-02-16T02:10:00",1,16.3,51]
["2014-02-14T04:35:00",124,124,0,0,0,null,null,"2014-02-16T02:25:00",1,16.2,51]
["2014-02-14T04:40:00",124,124,0,0,0,null,null,"2014-02-16T02:40:00",1,16.2,51]
["2014-02-14T04:45:00",176,176,0,0,0,null,null,"2014-02-16T02:55:00",1,16.2,51]
["2014-02-14T04:50:00",125,125,0,0,0,null,null,"2014-02-16T03:10:00",1,16.2,51]
["2014-02-14T04:55:00",124,124,0,0,0,null,null,"2014-02-16T03:25:00",1,16.100000000000001,51]
["2014-02-14T05:00:00",126,126,0,0,0,null,null,"2014-02-16T03:40:00",1,16.100000000000001,51]
["2014-02-14T05:05:00",199,199,0,0,0,null,null,"2014-02-16T03:55:00",1,16.100000000000001,52]
["2014-02-14T05:10:00",125,125,0,0,0,null,null,"2014-02-16T04:10:00",1,16.100000000000001,52]
["2014-02-14T05:15:00",124,124,0,0,0,null,null,"2014-02-16T04:25:00",1,16.100000000000001,52]
["2014-02-14T05:20:00",123,123,0,0,0,null,null,"2014-02-16T04:40:00",1,16,52]
["2014-02-14T05:25:00",133,133,0,0,0,null,null,"2014-02-16T04:55:00",1,16,52]
["2014-02-14T05:30:00",168,168,0,0,0,null,null,"2014-02-16T05:10:00",1,16,52]
["2014-02-14T05:35:00",164,164,0,0,0,null,null,"2014-02-16T05:25:00",1,15.9,54]
["2014-02-14T05:40:00",164,164,0,0,0,null,null,"2014-02-16T05:40:00",1,15.9,54]
["2014-02-14T05:45:00",252,252,0,0,0,null,null,"2014-02-16T05:55:00",1,15.9,54]
["2014-02-14T05:50:00",242,242,0,0,0,null,null,"2014-02-16T06:10:00",1,15.9,54]
["2014-02-14T05:55:00",235,235,0,0,0,null,null,"2014-02-16T06:25:00",1,15.8,54]
["2014-02-14T06:00:00",185,185,0,0,0,null,null,"2014-02-16T06:40:00",1,15.8,54]
["2014-02-14T06:05:00",308,308,0,0,0,null,null,"2014-02-16T06:55:00",1,15.8,54]
["2014-02-14T06:10:00",330,330,0,0,0,null,null,"2014-02-16T07:10:00",1,15.7,54]
["2014-02-14T06:15:00",298,298,0,0,0,null,null,"2014-02-16T07:25:00",1,15.7,54]
["2014-02-14T06:20:00",295,295,0,0,0,null,null,"2014-02-16T07:40:00",1,15.7,55]
["2014-02-14T06:25:00",304,304,0,0,0,null,null,"2014-02-16T07:55:00",1,15.7,55]
["2014-02-14T06:30:00",296,296,0,0,0,null,null,"2014-02-16T08:10:00",1,15.7,55]
["2014-02-14T06:35:00",298,298,0,0,0,null,null,"2014-02-16T08:25:00",1,15.7,55]
["2014-02-14T06:40:00",299,299,0,0,0,null,null,"2014-02-16T08:40:00",1,15.6,55]
["2014-02-14T06:45:00",296,296,0,0,0,null,null,"2014-02-16T08:55:00",1,15.6,55]
["2014-02-14T06:50:00",294,294,0,0,0,null,null,"2014-02-16T09:10:00",1,15.7,55]
["2014-02-14T06:55:00",293,293,0,0,0,null,null,"2014-02-16T09:25:00",1,15.8,55]
["2014-02-14T07:00:00",293,293,0,0,0,null,null,"2014-02-16T09:40:00",1,15.9,55]
["2014-02-14T07:05:00",290,290,0,0,0,null,null,"2014-02-16T09:55:00",1,16,53]
["2014-02-14T07:10:00",292,292,0,0,0,null,null,"2014-02-16T10:10:00",1,16.3,53]
["2014-02-14T07:15:00",292,292,0,0,0,null,null,"2014-02-16T10:25:00",1,16.5,53]
["2014-02-14T07:20:00",409,409,0,0,0,null,null,"2014-02-16T10:40:00",1,16.8,53]
["2014-02-14T07:25:00",417,417,0,0,0,null,null,"2014-02-16T10:55:00",1,17.100000000000001,53]
["2014-02-14T07:30:00",406,406,0,0,0,null,null,"2014-02-16T11:10:00",1,17.399999999999999,52]
["2014-02-14T07:35:00",330,330,0,0,0,null,null,"2014-02-16T11:25:00",1,17.899999999999999,52]
["2014-02-14T07:40:00",326,326,0,0,0,null,null,"2014-02-16T11:40:00",1,18,51]
["2014-02-14T07:45:00",326,326,0,0,0,null,null,"2014-02-16T11:55:00",1,18.3,51]
["2014-02-14T07:50:00",321,321,0,0,0,null,null,"2014-02-16T12:10:00",1,18.5,51]
["2014-02-14T07:55:00",287,287,0,0,0,null,null,"2014-02-16T12:25:00",1,18.8,51]
["2014-02-14T08:00:00",277,286,9,0,0]
["2014-02-14T08:05:00",257,269,12,1,0]
["2014-02-14T08:10:00",238,277,46,1,0]
["2014-02-14T08:15:00",233,285,52,1,0]
["2014-02-14T08:20:00",214,280,66,1,0]
["2014-02-14T08:25:00",79,292,213,1,0]
["2014-02-14T08:30:00",137,283,146,1,0]
["2014-02-14T08:35:00",128,283,155,1,0]
["2014-02-14T08:40:00",128,336,208,1,0]
["2014-02-14T08:45:00",9,275,272,3,0]
["2014-02-14T08:50:00",163,377,214,3,0]
["2014-02-14T08:55:00",117,329,212,44,0]
["2014-02-14T09:00:00",146,370,227,65,0]
["2014-02-14T09:05:00",4,374,370,8,0]
["2014-02-14T09:10:00",104,367,263,13,0]
["2014-02-14T09:15:00",273,532,261,23,0]
["2014-02-14T09:20:00",124,405,281,23,0]
["2014-02-14T09:25:00",222,504,282,23,0]
["2014-02-14T09:30:00",147,409,261,23,0]
["2014-02-14T09:35:00",190,444,254,24,0]
["2014-02-14T09:40:00",-88,168,256,24,0]
["2014-02-14T09:45:00",-95,168,263,24,0]
["2014-02-14T09:50:00",-135,164,301,24,0]
["2014-02-14T09:55:00",-235,146,387,24,0]
["2014-02-14T10:00:00",-299,147,446,24,0]
["2014-02-14T10:05:00",-211,279,482,1,0]
["2014-02-14T10:10:00",1201,1708,503,3,0]
["2014-02-14T10:15:00",-9,420,429,4,0]
["2014-02-14T10:20:00",14,384,368,4,0]
["2014-02-14T10:25:00",124,468,344,4,0]
["2014-02-14T10:30:00",108,453,345,4,0]
["2014-02-14T10:35:00",164,520,356,4,0]
["2014-02-14T10:40:00",87,478,395,4,0]
["2014-02-14T10:45:00",77,483,405,4,0]
["2014-02-14T10:50:00",60,475,415,4,0]
["2014-02-14T10:55:00",34,468,436,4,0]
["2014-02-14T11:00:00",0,472,472,4,0]
["2014-02-14T11:05:00",9,463,455,0,0]
["2014-02-14T11:10:00",3,473,470,0,0]
["2014-02-14T11:15:00",9,421,410,0,0]
["2014-02-14T11:20:00",35,412,377,0,0]
["2014-02-14T11:25:00",61,420,359,0,0]
["2014-02-14T11:30:00",55,409,354,0,0]
["2014-02-14T11:35:00",49,408,359,0,0]
["2014-02-14T11:40:00",-94,408,502,0,0]
["2014-02-14T11:45:00",-268,395,663,0,0]
["2014-02-14T11:50:00",-443,307,776,0,0]
["2014-02-14T11:55:00",-619,340,930,0,0]
["2014-02-14T12:00:00",-492,360,852,0,0]
["2014-02-14T12:05:00",-357,400,757,2,0]
["2014-02-14T12:10:00",-281,394,675,2,0]
["2014-02-14T12:15:00",-297,309,606,2,0]
["2014-02-14T12:20:00",146,642,496,2,0]
["2014-02-14T12:25:00",-167,327,494,2,0]
["2014-02-14T12:30:00",-244,241,485,3,0]
["2014-02-14T12:35:00",-174,246,422,3,0]
["2014-02-14T12:40:00",-240,304,544,3,0]
["2014-02-14T12:45:00",-280,305,584,3,0]
["2014-02-14T12:50:00",-221,262,483,3,0]
["2014-02-14T12:55:00",-110,263,373,3,0]
["2014-02-14T13:00:00",-64,330,397,3,0]
["2014-02-14T13:05:00",-142,259,401,0,0]
["2014-02-14T13:10:00",-151,265,416,2,0]
["2014-02-14T13:15:00",-145,262,407,3,0]
["2014-02-14T13:20:00",-105,271,376,3,0]
["2014-02-14T13:25:00",-100,270,370,3,0]
["2014-02-14T13:30:00",84,443,359,8,0]
["2014-02-14T13:35:00",90,390,300,9,0]
["2014-02-14T13:40:00",123,380,257,9,0]
["2014-02-14T13:45:00",149,362,213,9,0]
["2014-02-14T13:50:00",159,356,197,9,0]
["2014-02-14T13:55:00",175,363,188,9,0]
["2014-02-14T14:00:00",181,358,178,10,0]
["2014-02-14T14:05:00",211,415,204,0,0]
["2014-02-14T14:10:00",216,450,234,0,0]
["2014-02-14T14:15:00",136,445,311,0,0]
["2014-02-14T14:20:00",48,394,346,0,0]
["2014-02-14T14:25:00",6,334,328,0,0]
["2014-02-14T14:30:00",94,259,165,0,0]
["2014-02-14T14:35:00",227,375,148,0,0]
["2014-02-14T14:40:00",204,383,179,0,0]
["2014-02-14T14:45:00",274,368,94,0,0]
["2014-02-14T14:50:00",121,261,140,0,0]
["2014-02-14T14:55:00",92,247,155,0,0]
["2014-02-14T15:00:00",131,264,133,0,0]
["2014-02-14T15:05:00",210,330,120,0,0]
["2014-02-14T15:10:00",219,325,106,0,0]
["2014-02-14T15:15:00",234,326,92,0,0]
["2014-02-14T15:20:00",168,252,84,0,0]
["2014-02-14T15:25:00",228,313,85,0,0]
["2014-02-14T15:30:00",347,430,83,0,0]
["2014-02-14T15:35:00",261,337,76,0,0]
["2014-02-14T15:40:00",359,436,78,0,0]
["2014-02-14T15:45:00",425,500,75,0,0]
["2014-02-14T15:50:00",444,509,62,9,0]
["2014-02-14T15:55:00",405,469,64,9,0]
["2014-02-14T16:00:00",442,501,59,9,0]
["2014-02-14T16:05:00",438,495,57,0,0]
["2014-02-14T16:10:00",374,433,59,0,0]
["2014-02-14T16:15:00",375,426,49,0,0]
["2014-02-14T16:20:00",365,421,56,2,0]
["2014-02-14T16:25:00",364,406,42,2,0]
["2014-02-14T16:30:00",283,316,33,2,0]
["2014-02-14T16:35:00",271,304,33,2,0]
["2014-02-14T16:40:00",277,306,29,2,0]
["2014-02-14T16:45:00",220,245,25,2,0]
["2014-02-14T16:50:00",350,373,23,2,0]
["2014-02-14T16:55:00",1659,1678,19,2,0]
["2014-02-14T17:00:00",438,457,19,11,0]
["2014-02-14T17:05:00",483,498,15,0,0]
["2014-02-14T17:10:00",570,580,10,0,0]
["2014-02-14T17:15:00",565,572,7,0,0]
["2014-02-14T17:20:00",466,473,7,0,0]
["2014-02-14T17:25:00",467,467,0,0,0]
["2014-02-14T17:30:00",429,429,0,0,0]
["2014-02-14T17:35:00",420,420,0,0,0]
["2014-02-14T17:40:00",418,418,0,0,0]
["2014-02-14T17:45:00",416,416,0,0,0]
["2014-02-14T17:50:00",415,415,0,0,0]
["2014-02-14T17:55:00",416,416,0,0,0]
["2014-02-14T18:00:00",416,416,0,0,0]
["2014-02-14T18:05:00",416,416,0,0,0]
["2014-02-14T18:10:00",415,415,0,0,0]
["2014-02-14T18:15:00",514,514,0,0,0]
["2014-02-14T18:20:00",2461,2461,0,0,0]
["2014-02-14T18:25:00",2226,2226,0,0,0]
["2014-02-14T18:30:00",2220,2220,0,0,0]
["2014-02-14T18:35:00",1460,1460,0,0,0]
["2014-02-14T18:40:00",929,929,0,0,0]
["2014-02-14T18:45:00",2820,2820,0,0,0]
["2014-02-14T18:50:00",950,950,0,0,0]
["2014-02-14T18:55:00",1925,1925,0,0,0]
["2014-02-14T19:00:00",893,893,0,0,0]
["2014-02-14T19:05:00",972,972,0,0,0]
["2014-02-14T19:10:00",2459,2459,0,0,0]
["2014-02-14T19:15:00",2441,2441,0,5,0]
["2014-02-14T19:20:00",2087,2087,0,6,0]
["2014-02-14T19:25:00",1333,1333,0,6,0]
["2014-02-14T19:30:00",2340,2340,0,7,0]
["2014-02-14T19:35:00",1356,1356,0,7,0]
["2014-02-14T19:40:00",2064,2064,0,7,0]
["2014-02-14T19:45:00",1358,1358,0,7,0]
["2014-02-14T19:50:00",2146,2146,0,7,0]
["2014-02-14T19:55:00",1426,1426,0,7,0]
["2014-02-14T20:00:00",806,806,0,7,0]
["2014-02-14T20:05:00",956,956,0,3,0]
["2014-02-14T20:10:00",882,882,0,4,0]
["2014-02-14T20:15:00",909,909,0,4,0]
["2014-02-14T20:20:00",2085,2085,0,4,0]
["2014-02-14T20:25:00",734,734,0,4,0]
["2014-02-14T20:30:00",690,690,0,4,0]
["2014-02-14T20:35:00",702,702,0,4,0]
["2014-02-14T20:40:00",715,715,0,4,0]
["2014-02-14T20:45:00",2779,2779,0,4,0]
["2014-02-14T20:50:00",2092,2092,0,4,0]
["2014-02-14T20:55:00",1325,1325,0,4,0]
["2014-02-14T21:00:00",766,766,0,10,0]
["2014-02-14T21:05:00",2741,2741,0,0,0]
["2014-02-14T21:10:00",749,749,0,0,0]
["2014-02-14T21:15:00",1745,1745,0,0,0]
["2014-02-14T21:20:00",763,763,0,6,0]
["2014-02-14T21:25:00",1401,1401,0,14,0]
["2014-02-14T21:30:00",1836,1836,0,14,0]
["2014-02-14T21:35:00",1064,1064,0,14,0]
["2014-02-14T21:40:00",480,480,0,14,0]
["2014-02-14T21:45:00",1846,1846,0,14,0]
["2014-02-14T21:50:00",451,451,0,14,0]
["2014-02-14T21:55:00",1605,1605,0,14,0]
["2014-02-14T22:00:00",1159,1159,0,21,0]
["2014-02-14T22:05:00",637,637,0,0,0]
["2014-02-14T22:10:00",564,564,0,0,0]
["2014-02-14T22:15:00",615,615,0,0,0]
["2014-02-14T22:20:00",615,615,0,0,0]
["2014-02-14T22:25:00",592,592,0,0,0]
["2014-02-14T22:30:00",593,593,0,0,0]
["2014-02-14T22:35:00",587,587,0,0,0]
["2014-02-14T22:40:00",488,488,0,0,0]
["2014-02-14T22:45:00",522,522,0,0,0]
["2014-02-14T22:50:00",521,521,0,0,0]
["2014-02-14T22:55:00",600,600,0,0,0]
["2014-02-14T23:00:00",591,591,0,0,0]
["2014-02-14T23:05:00",589,589,0,0,0]
["2014-02-14T23:10:00",477,477,0,0,0]
["2014-02-14T23:15:00",553,553,0,0,0]
["2014-02-14T23:20:00",571,571,0,8,0]
["2014-02-14T23:25:00",437,437,0,8,0]
["2014-02-14T23:30:00",436,436,0,8,0]
["2014-02-14T23:35:00",438,438,0,8,0]
["2014-02-14T23:40:00",438,438,0,8,0]
["2014-02-14T23:45:00",491,491,0,8,0]
["2014-02-14T23:50:00",434,434,0,8,0]
["2014-02-14T23:55:00",441,441,0,8,0]
["2014-02-15",441,441,0,8,0]
["2014-02-15T00:05:00",367,367,0,0,0]
["2014-02-15T00:10:00",504,504,0,0,0]
["2014-02-15T00:15:00",401,401,0,0,0]
["2014-02-15T00:20:00",503,503,0,0,0]
["2014-02-15T00:25:00",576,576,0,0,0]
["2014-02-15T00:30:00",474,474,0,0,0]
["2014-02-15T00:35:00",466,466,0,0,0]
["2014-02-15T00:40:00",490,490,0,0,0]
["2014-02-15T00:45:00",536,536,0,0,0]
["2014-02-15T00:50:00",535,535,0,0,0]
["2014-02-15T00:55:00",450,450,0,0,0]
["2014-02-15T01:00:00",259,259,0,0,0]
["2014-02-15T01:05:00",216,216,0,0,0]
["2014-02-15T01:10:00",2517,2517,0,1,0]
["2014-02-15T01:15:00",2202,2202,0,5,0]
["2014-02-15T01:20:00",192,192,0,6,0]
["2014-02-15T01:25:00",156,156,0,8,0]
["2014-02-15T01:30:00",2169,2169,0,8,0]
["2014-02-15T01:35:00",155,155,0,8,0]
["2014-02-15T01:40:00",164,164,0,8,0]
["2014-02-15T01:45:00",2177,2177,0,8,0]
["2014-02-15T01:50:00",2119,2119,0,8,0]
["2014-02-15T01:55:00",280,280,0,8,0]
["2014-02-15T02:00:00",311,311,0,8,0]
["2014-02-15T02:05:00",291,291,0,0,0]
["2014-02-15T02:10:00",301,301,0,0,0]
["2014-02-15T02:15:00",225,225,0,3,0]
["2014-02-15T02:20:00",223,223,0,3,0]
["2014-02-15T02:25:00",170,170,0,3,0]
["2014-02-15T02:30:00",206,206,0,6,0]
["2014-02-15T02:35:00",186,186,0,6,0]
["2014-02-15T02:40:00",136,136,0,6,0]
["2014-02-15T02:45:00",2175,2175,0,6,0]
["2014-02-15T02:50:00",2142,2142,0,6,0]
["2014-02-15T02:55:00",2114,2114,0,6,0]
["2014-02-15T03:00:00",130,130,0,6,0]
["2014-02-15T03:05:00",128,128,0,3,0]
["2014-02-15T03:10:00",141,141,0,3,0]
["2014-02-15T03:15:00",202,202,0,3,0]
["2014-02-15T03:20:00",248,248,0,3,0]
["2014-02-15T03:25:00",127,127,0,3,0]
["2014-02-15T03:30:00",209,209,0,3,0]
["2014-02-15T03:35:00",201,201,0,5,0]
["2014-02-15T03:40:00",250,250,0,5,0]
["2014-02-15T03:45:00",174,174,0,5,0]
["2014-02-15T03:50:00",172,172,0,5,0]
["2014-02-15T03:55:00",169,169,0,5,0]
["2014-02-15T04:00:00",168,168,0,5,0]
["2014-02-15T04:05:00",169,169,0,0,0]
["2014-02-15T04:10:00",179,179,0,0,0]
["2014-02-15T04:15:00",166,166,0,0,0]
["2014-02-15T04:20:00",127,127,0,0,0]
["2014-02-15T04:25:00",127,127,0,0,0]
["2014-02-15T04:30:00",127,127,0,0,0]
["2014-02-15T04:35:00",127,127,0,0,0]
["2014-02-15T04:40:00",126,126,0,0,0]
["2014-02-15T04:45:00",126,126,0,0,0]
["2014-02-15T04:50:00",131,131,0,0,0]
["2014-02-15T04:55:00",129,129,0,0,0]
["2014-02-15T05:00:00",208,208,0,0,0]
["2014-02-15T05:05:00",203,203,0,0,0]
["2014-02-15T05:10:00",213,213,0,0,0]
["2014-02-15T05:15:00",130,130,0,0,0]
["2014-02-15T05:20:00",172,172,0,0,0]
["2014-02-15T05:25:00",172,172,0,0,0]
["2014-02-15T05:30:00",243,243,0,0,0]
["2014-02-15T05:35:00",242,242,0,0,0]
["2014-02-15T05:40:00",168,168,0,0,0]
["2014-02-15T05:45:00",166,166,0,0,0]
["2014-02-15T05:50:00",167,167,0,0,0]
["2014-02-15T05:55:00",130,130,0,0,0]
["2014-02-15T06:00:00",152,152,0,0,0]
["2014-02-15T06:05:00",153,153,0,0,0]
["2014-02-15T06:10:00",167,167,0,0,0]
["2014-02-15T06:15:00",130,130,0,0,0]
["2014-02-15T06:20:00",129,129,0,0,0]
["2014-02-15T06:25:00",129,129,0,0,0]
["2014-02-15T06:30:00",216,216,0,0,0]
["2014-02-15T06:35:00",204,204,0,0,0]
["2014-02-15T06:40:00",202,202,0,0,0]
["2014-02-15T06:45:00",129,129,0,0,0]
["2014-02-15T06:50:00",128,128,0,0,0]
["2014-02-15T06:55:00",217,217,0,0,0]
["2014-02-15T07:00:00",170,170,0,0,0]
["2014-02-15T07:05:00",322,322,0,0,0]
["2014-02-15T07:10:00",354,354,0,0,0]
["2014-02-15T07:15:00",335,335,0,0,0]
["2014-02-15T07:20:00",332,332,0,0,0]
["2014-02-15T07:25:00",333,333,0,0,0]
["2014-02-15T07:30:00",364,364,0,0,0]
["2014-02-15T07:35:00",364,364,0,0,0]
["2014-02-15T07:40:00",298,298,0,0,0]
["2014-02-15T07:45:00",297,297,0,0,0]
["2014-02-15T07:50:00",297,297,0,0,0]
["2014-02-15T07:55:00",295,295,0,0,0]
["2014-02-15T08:00:00",379,379,0,0,0]
["2014-02-15T08:05:00",366,366,0,0,0]
["2014-02-15T08:10:00",362,362,0,0,0]
["2014-02-15T08:15:00",264,281,17,0,0]
["2014-02-15T08:20:00",262,298,36,0,0]
["2014-02-15T08:25:00",264,286,22,0,0]
["2014-02-15T08:30:00",261,286,25,0,0]
["2014-02-15T08:35:00",282,329,47,0,0]
["2014-02-15T08:40:00",314,347,33,0,0]
["2014-02-15T08:45:00",313,331,18,0,0]
["2014-02-15T08:50:00",289,314,25,0,0]
["2014-02-15T08:55:00",285,330,45,0,0]
["2014-02-15T09:00:00",250,393,143,0,0]
["2014-02-15T09:05:00",279,402,123,0,0]
["2014-02-15T09:10:00",250,354,104,8,0]
["2014-02-15T09:15:00",202,328,126,8,0]
["2014-02-15T09:20:00",134,328,194,8,0]
["2014-02-15T09:25:00",101,403,302,8,0]
["2014-02-15T09:30:00",125,408,283,8,0]
["2014-02-15T09:35:00",45,412,367,8,0]
["2014-02-15T09:40:00",74,342,268,8,0]
["2014-02-15T09:45:00",229,411,182,8,0]
["2014-02-15T09:50:00",152,338,183,8,0]
["2014-02-15T09:55:00",208,340,132,8,0]
["2014-02-15T10:00:00",200,322,122,8,0]
["2014-02-15T10:05:00",174,315,146,0,0]
["2014-02-15T10:10:00",1041,1225,184,7,0]
["2014-02-15T10:15:00",194,364,170,8,0]
["2014-02-15T10:20:00",83,338,255,8,0]
["2014-02-15T10:25:00",500,735,234,8,0]
["2014-02-15T10:30:00",48,334,282,8,0]
["2014-02-15T10:35:00",108,230,122,8,0]
["2014-02-15T10:40:00",46,183,143,8,0]
["2014-02-15T10:45:00",-68,190,261,8,0]
["2014-02-15T10:50:00",-55,237,292,9,0]
["2014-02-15T10:55:00",106,322,219,36,0]
["2014-02-15T11:00:00",106,255,149,43,0]
["2014-02-15T11:05:00",-122,158,294,0,0]
["2014-02-15T11:10:00",-103,260,363,29,0]
["2014-02-15T11:15:00",-114,269,383,71,0]
["2014-02-15T11:20:00",163,431,268,113,0]
["2014-02-15T11:25:00",218,373,155,122,0]
["2014-02-15T11:30:00",315,517,202,129,0]
["2014-02-15T11:35:00",356,508,152,129,0]
["2014-02-15T11:40:00",326,477,151,129,0]
["2014-02-15T11:45:00",241,382,135,130,0]
["2014-02-15T11:50:00",377,484,107,139,0]
["2014-02-15T11:55:00",240,415,175,147,0]
["2014-02-15T12:00:00",163,521,358,159,0]
["2014-02-15T12:05:00",1968,2401,433,0,0]
["2014-02-15T12:10:00",1202,2117,1178,0,0]
["2014-02-15T12:15:00",1165,2280,1115,0,0]
["2014-02-15T12:20:00",1545,2466,906,0,0]
["2014-02-15T12:25:00",2053,2461,408,0,0]
["2014-02-15T12:30:00",2147,2372,225,0,0]
["2014-02-15T12:35:00",214,568,349,0,0]
["2014-02-15T12:40:00",33,514,481,0,0]
["2014-02-15T12:45:00",27,457,430,0,0]
["2014-02-15T12:50:00",36,616,580,0,0]
["2014-02-15T12:55:00",129,482,353,0,0]
["2014-02-15T13:00:00",-656,0,1111,0,0]
["2014-02-15T13:05:00",-861,320,1181,0,0]
["2014-02-15T13:10:00",-462,558,1004,0,0]
["2014-02-15T13:15:00",-620,451,1071,0,0]
["2014-02-15T13:20:00",-424,572,996,0,0]
["2014-02-15T13:25:00",-297,552,757,9,0]
["2014-02-15T13:30:00",-1446,506,1972,14,0]
["2014-02-15T13:35:00",-830,1084,1218,15,0]
["2014-02-15T13:40:00",-1248,760,2008,28,0]
["2014-02-15T13:45:00",-1026,0,1001,28,0]
["2014-02-15T13:50:00",110,725,601,49,0]
["2014-02-15T13:55:00",-1446,497,1943,49,0]
["2014-02-15T14:00:00",-1271,617,1847,49,0]
["2014-02-15T14:05:00",397,843,446,12,0]
["2014-02-15T14:10:00",243,767,524,26,0]
["2014-02-15T14:15:00",-1343,411,1772,26,0]
["2014-02-15T14:20:00",-1333,383,1716,26,0]
["2014-02-15T14:25:00",-1389,136,1665,26,0]
["2014-02-15T14:30:00",-1513,224,1771,26,0]
["2014-02-15T14:35:00",-1452,265,1717,26,0]
["2014-02-15T14:40:00",-1443,255,1698,26,0]
["2014-02-15T14:45:00",-606,251,820,26,0]
["2014-02-15T14:50:00",571,1514,943,26,0]
["2014-02-15T14:55:00",-1390,0,1275,26,0]
["2014-02-15T15:00:00",-1309,403,1712,26,0]
["2014-02-15T15:05:00",-1116,387,1512,0,0]
["2014-02-15T15:10:00",-73,434,507,0,0]
["2014-02-15T15:15:00",-199,650,680,0,0]
["2014-02-15T15:20:00",11,543,532,0,0]
["2014-02-15T15:25:00",3,464,461,0,0]
["2014-02-15T15:30:00",4,434,430,0,0]
["2014-02-15T15:35:00",-66,318,384,0,0]
["2014-02-15T15:40:00",105,450,318,0,0]
["2014-02-15T15:45:00",37,428,391,0,0]
["2014-02-15T15:50:00",-163,939,614,9,0]
["2014-02-15T15:55:00",-710,298,998,10,0]
["2014-02-15T16:00:00",-272,511,783,12,0]
["2014-02-15T16:05:00",-325,293,618,0,0]
["2014-02-15T16:10:00",-53,292,345,0,0]
["2014-02-15T16:15:00",-158,263,439,0,0]
["2014-02-15T16:20:00",69,256,187,0,0]
["2014-02-15T16:25:00",88,314,226,0,0]
["2014-02-15T16:30:00",-30,335,333,0,0]
["2014-02-15T16:35:00",81,317,236,0,0]
["2014-02-15T16:40:00",221,485,315,0,0]
["2014-02-15T16:45:00",17,368,351,0,0]
["2014-02-15T16:50:00",89,504,415,0,0]
["2014-02-15T16:55:00",363,501,138,0,0]
["2014-02-15T17:00:00",332,413,81,0,0]
["2014-02-15T17:05:00",304,359,55,0,0]
["2014-02-15T17:10:00",334,364,30,0,0]
["2014-02-15T17:15:00",549,565,16,0,0]
["2014-02-15T17:20:00",564,571,6,0,0]
["2014-02-15T17:25:00",598,598,0,0,0]
["2014-02-15T17:30:00",455,498,43,8,0]
["2014-02-15T17:35:00",505,569,64,8,0]
["2014-02-15T17:40:00",475,504,29,8,0]
["2014-02-15T17:45:00",481,495,14,8,0]
["2014-02-15T17:50:00",519,528,9,8,0]
["2014-02-15T17:55:00",491,496,5,8,0]
["2014-02-15T18:00:00",539,539,0,8,0]
["2014-02-15T18:05:00",551,551,0,0,0]
["2014-02-15T18:10:00",581,581,0,0,0]
["2014-02-15T18:15:00",667,667,0,0,0]

{"sheet":"Week","index":3,"n_rows":20,"n_cols":12,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
["Datum Tijd","Netto","Verbruik","Zon ","Water","Gas",null,null,"Datum Tijd","Meter ID","Temp","L-Vocht"]
["2014-02-08",0,0,106,41,0,null,null,"2014-02-15T13:35:00",1,18.3,50]
["2014-02-09",0,0,150,199,0,null,null,"2014-02-15T14:50:00",1,18.5,50]
["2014-02-10",0,0,247,18,0,null,null,"2014-02-15T16:05:00",1,18.7,50]
["2014-02-11",0,0,506,155,0,null,null,"2014-02-15T17:20:00",1,18.5,49]
["2014-02-12",158,683,808,171,0,null,null,"2014-02-15T18:35:00",1,18.7,49]
["2014-02-13",898,1083,189,195,0,null,null,"2014-02-15T19:50:00",1,17.600000000000001,49]
["2014-02-14",1004,1261,258,185,0,null,null,"2014-02-15T21:05:00",1,17,50]
["2014-02-15",358,869,505,324,0,null,null,"2014-02-15T22:25:00",1,16.7,50]
[null,null,null,null,null,null,null,null,"2014-02-15T23:40:00",1,16.399999999999999,50]
[null,null,null,null,null,null,null,null,"2014-02-16T01:10:00",1,16.3,50]
[null,null,null,null,null,null,null,null,"2014-02-16T02:25:00",1,16.2,51]
[null,null,null,null,null,null,null,null,"2014-02-16T03:40:00",1,16.100000000000001,51]
[null,null,null,null,null,null,null,null,"2014-02-16T04:55:00",1,16,52]
[null,null,null,null,null,null,null,null,"2014-02-16T06:10:00",1,15.9,54]
[null,null,null,null,null,null,null,null,"2014-02-16T07:25:00",1,15.7,54]
[null,null,null,null,null,null,null,null,"2014-02-16T08:40:00",1,15.6,55]
[null,null,null,null,null,null,null,null,"2014-02-16T09:55:00",1,16,53]
[null,null,null,null,null,null,null,null,"2014-02-16T11:10:00",1,17.399999999999999,52]
[null,null,null,null,null,null,null,null,"2014-02-16T12:25:00",1,18.8,51]

{"sheet":"Maand","index":4,"n_rows":9,"n_cols":14,"rows_kept":9,"cut":false,"hidden":false,"merged":[]}
["Datum Tijd","Netto","Verbruik","Zon ","Water","Gas",null,null,"Datum Tijd","Meter ID","Max Temp","Min Temp","Max L-Vocht","Min L-Vocht"]
["2014-02-08",0,0,106,41,0,null,null,"2014-02-15T12:00:00",1,18.899999999999999,16.399999999999999,50,49]
["2014-02-09",0,0,150,199,0]
["2014-02-10",0,0,247,18,0]
["2014-02-11",0,0,506,155,0]
["2014-02-12",158,683,808,171,0]
["2014-02-13",898,1083,189,195,0]
["2014-02-14",1004,1261,258,185,0]
["2014-02-15",358,869,505,324,0]

{"sheet":"Jaar","index":5,"n_rows":2,"n_cols":14,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
["Datum Tijd","Netto","Verbruik","Zon ","Water","Gas",null,null,"Datum Tijd","Meter ID","Max Temp","Min Temp","Max L-Vocht","Min L-Vocht"]
["2014-02-01",2060,3027,2264,964,0,null,null,"2014-02-01T12:00:00",1,18.899999999999999,16.399999999999999,50,49]